## Sheet 1
Code | Description | Description (Long) | Status | User-Defined Type | Asset Group | Asset Group Name | Asset Tag | Make | Model | Product Version | Serial Number | Property code | Property Name | Space Number | Space Name | Space Details | GPS Coordinates (lat,long) | Sector | Grid | Asset Owner Code | Asset Owner Name | Asset Steward Code | Asset Steward Name | Asset Jurisdiction Code | Asset Jurisdiction Name | Installation Date | Main Asset Code | Main Asset Description | External QR Code | External ID
0000081031 | Domestic Water Storage DHW-1 | Domestic Water Tank 1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHW-1 | Rheem | GPV-75-75FV-2 |  | 0462239122 | 482 | Allard Hall (482) | 503 | Boiler/ Furnace | 503 | [9 empty] | 2010-01-11 | SYS0038526 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081031
0000081032 | Domestic Water Storage DHW-2 | Domestic Water Tank 2 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHW-2 | Rheem | GPV-75-75FV-2 |  | 141734812 | 482 | Allard Hall (482) | 503 | Boiler/ Furnace | Boiler/ Furnace | [9 empty] | 2017-01-04 | SYS0038526 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081032
0000081111 | Domestic Water Storage DHW-T1 | Domestic Water Storage Tanks | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-1 | A.O.Smith | TJV120M000000Y00 |  | 1418MOO2993 | 797 | Robert H Lee Alumni Centre (797) |  |  | 124 | [10 empty] | SYS0038791 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081111
0000081112 | Domestic Water Storage DHW-T2 | Domestic Water Storage Tanks | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-2 | A.O.Smith | TJV120M000000Y00 |  | 1419MOO1484 | 797 | Robert H Lee Alumni Centre (797) |  |  | 124 | [10 empty] | SYS0038791 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081112
0000081189 | Domestic Water Storage | Domestic Water Tank. 184300 BTU/Hour | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | EIC-101 | Bradford White | MII12-OA1235F16-866 |  | MF3627980 D/N | 316 | Aquatic Ecosystems Research Laboratory (316) |  |  | 7 | [10 empty] | SYS0038250 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081189
0000081380 | Domestic Water Storage DWH-S-S1 | Hot Water Tank Semi-Instantaneous Heater DWH-S-S1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWH-S-S1 | Patterson Kelley | M3ST120R5 | Steam |  | 068 | Biological Sciences Building - South Wing (068) | [13 empty] | SYS0038377 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081380
0000081381 | Domestic Water Storage DWH-S-S2 | Hot Water Tank Semi-Instantaneous Heater DWH-S-S2 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWH-S-S2 | Patterson Kelley |  | Steam |  | 068 | Biological Sciences Building - South Wing (068) |  |  | 0301B | [10 empty] | SYS0038377 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081381
0000081655 | Domestic Water Storage | Electric Hot Water Tank Non Potable Water | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | A.O.Smith | 40 110 |  | 1607F800038 | 461 | Biomedical Research Centre (461) | [13 empty] | SYS0038514 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081655
0000081665 | Domestic Water Storage NPHWT-1 | Non potable water NPHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | NPHWT-1 | AO Smith | DEL 6102 |  | 1617F800062 | 020-1 | The Brimacombe Building Addition (020-1) | 70A | Mechanical Room | Mechanical Room | [9 empty] | 2016-01-01 | SYS0038355 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081665
0000081830 | Domestic Water Storage DHWT-2 | Hot Water Tank DHWT-2 Supplying both D and E block | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-3.2 | Bradford White | M212ORGDS-INC22 | Steam | Fell932525Ni-458 | 122-1 | Buchanan Building Block D (122-1) | D032 | Mechanical Room | Mechanical Room | [9 empty] | 2009-01-01 | SYS0038409 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081830
0000081831 | Domestic Water Storage DHWT-2 | Hot Water Tank DHWT-2 Supplying both D and E block | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | Bradford White | M212OR6DS3 | Steam | CE7699882 | 122-1 | Buchanan Building Block D (122-1) | D032 | Mechanical Room | Mechanical Room | [9 empty] | 2006-01-01 | SYS0038409 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081831
0000081930 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | Bradford White | LD3OU31B06 | Electric | He15036624 | 057 | Centre for Comparative Medicine (057) |  |  | 1017 | [10 empty] | SYS0038373 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081930
0000081931 | Domestic Water Storage HEX-8 | Hot Water Tank Stm/Water (STM/DHW EXCHANGER HEX-8) | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HEX-8 | Harsco | PK-Compact | Stm/Tkless | C503290-1-1 | 057 | Centre for Comparative Medicine (057) | 1114 | Mechanical Room | 1114 | [10 empty] | SYS0038373 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081931
0000081932 | Domestic Water Storage | Hot Water Tank Stm/Water | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Harsco | PK-Compact | Stm/Tkless | C50329-1-2 | 057 | Centre for Comparative Medicine (057) | 1114 | Mechanical Room | 1114 | [10 empty] | SYS0038373 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081932
0000081996 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT1-Electric | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | A.O.Smith | DSE120 | Electric 9KW | 1022R000031 | 633 | Centre for Interactive Research on Sustainability [CIRS] (633) | B1332 | Boiler/ Furnace | B1332 | [9 empty] | 2010-01-01 | SYS0038707 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081996
0000081997 | Domestic Water Storage DHWT-2 | Hot Water Tank DHWT2-Electric | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | A.O.Smith | DSE120 | Electric 9KW | 1022R000032 | 633 | Centre for Interactive Research on Sustainability [CIRS] (633) | B1332 | Boiler/ Furnace | B1332 | [9 empty] | 2010-01-01 | SYS0038707 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000081997
0000082173 | Domestic Water Storage | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWT-4 | A.O. Smith | DEL 10 102 |  | 1734F800030 | 438 | Chan Gunn Pavilion (438) |  |  | 161 | [10 empty] | SYS0038502 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000082173
0000082183 | Domestic Water Storage |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | AO Smith | DRE120 100 |  | 1540F800023 | 300 | Chemical & Biological Engineering Building (300) | 003 | Mechanical Room | Mechanical Room | [9 empty] | 2015-01-01 | SYS0038238 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000082183
0000083039 | Domestic Water Storage |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Amtrol |  |  |  | 306 | Civil and Mechanical Engineering Building (306) |  |  | 50 | [10 empty] | SYS0038241 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083039
0000083040 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Leitch |  | Steam | 137714 | 306 | Civil and Mechanical Engineering Building (306) |  |  | Bsmt | [10 empty] | SYS0038241 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083040
0000083183 | Hot Water Tank | Tank for Domestic Hot Water | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | A.O.Smith | DVE-80 100 |  | 1240F700575 | 184 | Coal and Mineral Processing Laboratory (184) |  |  | 400 | [10 empty] | SYS0038213 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083183
0000083187 | Hot Water Tank | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | A.O.Smith | BTRC154118 |  | 128MOO1275 | 184 | Coal and Mineral Processing Laboratory (184) | 104 | Mechanical Room | Mechanical Room | [9 empty] | 2012-01-01 | SYS0038213 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083187
0000083199 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Rheem | EG85C-1B | Electric | 0297L69329 | 160 | Continuing Studies Building (160) |  |  | 310A | [10 empty] | SYS0038207 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083199
0000083481 | Domestic Water Storage DWHT-3 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWHT-3 | Rheem | RE10 |  | CN0311501683 | 225 | Earth Sciences Building (225) | B1026 | Mechanical Room | 1026 | [9 empty] | 2011-01-01 | SYS0038232 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083481
0000083482 | Domestic Water Storage DHWT-1 | Domestic Water Tank 1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | Nickel shield | 4400N500AQWD |  | 311131485 | 225 | Earth Sciences Building (225) | B1026 | Mechanical Room | Mechanical Room | [9 empty] | 2011-01-01 | SYS0038232 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083482
0000083483 | Domestic Water Storage DHWT-2 | Domestic Water Tank 2 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | Nickel shield | 4400N500AQWD |  | 311131486 | 225 | Earth Sciences Building (225) | B1026 | Mechanical Room | Mechanical Room | [9 empty] | 2011-01-01 | SYS0038232 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083483
0000083767 | Domestic Water Storage DHW-4 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHW-4 | Enermax |  |  | 9771A | 353 | Forest Sciences Centre (353) | 0940 | Mechanical Room | 940 - Mechanical Room | [10 empty] | SYS0038257 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083767
0000083768 | Domestic Water Storage |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | AO Smith | DRE-120 100 |  | 190ZF800101 | 353 | Forest Sciences Centre (353) | 0940 | Mechanical Room | Mechanical Room | [9 empty] | 2019-01-01 | SYS0038257 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083768
0000083769 | Domestic Water Storage DHW-3 | Hot Water Tank Stm/Water | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHW-3 | Enermax Fabricators | H9377.1 | HW | 9771B | 353 | Forest Sciences Centre (353) | 0920 | Mechanical Room | 0920 - Mechanical Room | [10 empty] | SYS0038257 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083769
0000083988 | Domestic Water Storage DHWT-1 | Electric Hot Water Tank Domestic Storage DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | A.O.Smith | DRE-20-100 |  | 1440F700005 | 028 | Frederic Lasserre Building (028) | 10 | Circulation Area | 10 | [9 empty] | 2014-01-01 | SYS0038363 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000083988
0000084005 | Domestic Water Storage Electric DHW Tank | Electric DHW Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | A.O.Smith | DRE-20-100 |  | 1440F700003 | 376 | Frederic Wood Theatre (376) |  |  | 10 | [10 empty] | SYS0038260 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000084005
0000084314 | Domestic Water Storage HWT-102 | Electric DHW Tank Unit PV125222 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWT-102 | A.O Smith | HWG140VSBOA006021 |  | SB0S-107551-5 | 324 | B.C. Binning Studios (324) |  |  | 324 | [10 empty] | SYS0038252 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000084314
0000084346 | Domestic Water Storage HWT-102 | Domestic Water Electric Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWT-102 | AO Smith | DRE-120 100 |  | 1447F700033 | 165 | Institute for Computing, Information and Cognitive Systems / Computer Science (165) |  |  | 42 | [10 empty] | SYS0038209 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000084346
0000084423 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | JW80SDEBI | Electric | U1046F706291 | 472 | International House (472) |  |  | 104 | [10 empty] | SYS0038521 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000084423
0000084483 | Domestic Water Storage ST-2 | Domestic Water Storage ST-2 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-2 | Viessmann | EVI |  | 7134373400479100 | 836 | Iona Building (836) |  |  | 41 | [10 empty] | SYS0038840 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000084483
0000084484 | Domestic Water Storage ST-1 | Domestic Water Storage ST-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-1 | Viessmann | EVI |  | 7134373400474100 | 836 | Iona Building (836) |  |  | 41 | [10 empty] | SYS0038840 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000084484
0000085169 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  |  |  | Steam |  | 022 | Lower Mall Research Station (022) |  |  | 25 | [10 empty] | SYS0038357 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085169
0000085255 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | JW850SDE-30250 | Electric | 1626A041897 | 614 | Mary Bollert Hall (614) | 11 | Mechanical Room | Mechanical Room | [9 empty] | 2016-01-01 | SYS0038670 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085255
0000085262 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | JW405 | Electric | 8905990987 | 519 | Mathematics Annex (519) |  |  | West Crawlspace | [10 empty] | SYS0038594 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085262
0000085263 | Domestic Water Storage DHWT-2 | Hot Water Tank Storage Heater DHWT-2 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | SpaceSaver 6 | 55130 | Electric | S0110565846 | 519 | Mathematics Annex (519) |  |  | West Crawlspace | [10 empty] | SYS0038594 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085263
0000085414 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Rheem | REG | Electric |  | 570 | Museum of Anthropology (570) | [13 empty] | SYS0038637 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085414
0000085490 | Domestic Water Storage DHWT-1 | Hot Water Tank Domestic DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Rosted |  |  | 1672 | 575 | Music Building (575) |  |  | 108 | [10 empty] | SYS0038639 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085490
0000085544 | Domestic Water Storage HWT-101 | Domestic Water Storage HWT-101 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWT-101 | A.O.Smith | DRE-120 100 |  | 1447F700032 | 081-2 | Networks of Centres of Excellence (081-2) |  |  | 502 | [10 empty] | SYS0038390 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085544
0000085627 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | John Wood | JW505DE130 | Electric | UO330F700947 | 017 | Old Administration Building (017) |  |  | 34 | [10 empty] | SYS0038352 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085627
0000085648 | Domestic Water Storage DHWT-1 | Domestic Water Storage DHWT-1 Natural Gas | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | AO Smith | BTH 250 (A) |  |  | 769 | Library PARC@UBC (769) | [13 empty] | SYS0038764 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085648
0000085730 | Domestic Water Storage HWT-1 | Domestic Hot Water Tank HWT-1, provides 60C water DHW HEATER HWH-1 (Right) | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWT-1 | PVI | 375N 250A-TP |  | 711132560 | 527 | Pharmaceutical Sciences Building (527) | 7201 | Mechanical Room | 7201 | [9 empty] | 2011-01-01 | SYS0038603 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085730
0000085731 | Domestic Water Storage HWT-2 | Domestic Hot Water Tank HWT-2, provides 60C water DHW HEATER HWH-2 (Left) | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWT-2 | PVI | 375 N 250A-TP |  | 711132561 | 527 | Pharmaceutical Sciences Building (527) | 7201 | Mechanical Room | 7201 | [9 empty] | 2011-01-01 | SYS0038603 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085731
0000085732 | Domestic Water Storage HWT-3 | Domestic Hot Water Tank HWT-3, provides 82C water DHW HEATER HWH-3 (Right) | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWT-3 | PVI | 1500 N 750A-TP |  | 711132562 | 527 | Pharmaceutical Sciences Building (527) | 7201 | Mechanical Room | 7201 | [9 empty] | 2011-01-01 | SYS0038603 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085732
0000085733 | Domestic Water Storage HWT-4 | Domestic Hot Water Tank HWT-4, provides 82C water DHW HEATER HWH-4 (Left) | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWT-4 | PVI | 1500 N 750A-TP |  | 711132563 | 527 | Pharmaceutical Sciences Building (527) | 7201 | Mechanical Room | 7201 | [9 empty] | 2011-01-01 | SYS0038603 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000085733
0000086054 | Domestic Water Storage DHWT-1 | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | A.O.Smith | BTH-250A300 |  | 1925115396429 | 430 | Robert F. Osborne Centre - Unit 1 (430) | 202 | Mechanical Room | Mechanical Room | [10 empty] | SYS0038494 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086054
0000086055 | Domestic Water Storage DHWT-2 | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | A.O.Smith | BTH-250A300 |  | 1925115396428 | 430 | Robert F. Osborne Centre - Unit 1 (430) | 202 | Mechanical Room | Mechanical Room | [9 empty] | 2019-01-01 | SYS0038494 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086055
0000086056 | Domestic Water Storage DHWT-3 | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWHT-3 | A.O.Smith | BTH-250A300 |  | 1925115396431 | 430 | Robert F. Osborne Centre - Unit 1 (430) | 202 | Mechanical Room | Mechanical Room | [9 empty] | 2019-01-01 | SYS0038494 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086056
0000086057 | Domestic Water Storage DHWT-4 | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-4 | A.O.Smith | BTH-250A300 |  | 1925115396427 | 430 | Robert F. Osborne Centre - Unit 1 (430) | 202 | Mechanical Room | Mechanical Room | [9 empty] | 2019-01-01 | SYS0038494 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086057
0000086311 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | Enermax Fabricators | ST12C | Steam | 162063 | 020 | The Brimacombe Building (020) |  |  | 46 | [10 empty] | SYS0038354 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086311
0000086491 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 - janitor room | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | A.O. Smith | DEN 66 110 | Electric | K04M004242 | 313 | The Fred Kaiser Building (313) | 4019 | Custodial Room | 4019 | [9 empty] | 2014-01-01 | SYS0038248 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086491
0000086492 | Domestic Water Storage DHWT-2 | Hot Water Tank DHWT-2 - janitor room | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | A.O. Smith | DEL 30 110 | Electric | J04M003079 | 313 | The Fred Kaiser Building (313) |  |  | 3029 | [10 empty] | SYS0038248 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086492
0000086546 | Domestic Water Storage DHWT-2 | Hot Water Tank DHWT-2 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | Rheem | RE20 | Electric | 205617494 | 308 | The Leonard S. Klinck Building (308) |  |  | 109A | [10 empty] | SYS0038243 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086546
0000086596 | Domestic Water Storage B-ST-1 | Domestic Water DST-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | B-ST-1 | AO Smith | TJV 120A000 |  | 1728R000047 | 790 | UBC Life Building (790) |  |  | 6A | [10 empty] | SYS0038786 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086596
0000086597 | Domestic Water Storage B-ST-2 | Domestic Water DST-2 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | B-ST-2 | AO Smith | TJV 120A000 |  | 1728106820832 | 790 | UBC Life Building (790) |  |  | 6A | [10 empty] | SYS0038786 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086597
0000086598 | Domestic Water Storage B-ST-3 | Domestic Water DST-3 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | B-ST-3 | AO Smith | TJV 120A000 |  | 1713195520582 | 790 | UBC Life Building (790) |  |  | 6A | [10 empty] | SYS0038786 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086598
0000086599 | Domestic Water Storage B-ST-4 | Domestic Water DST-4 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | B-ST-4 | AO Smith | TJV 120A000 |  | 1713195520584 | 790 | UBC Life Building (790) |  |  | 6A | [10 empty] | SYS0038786 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086599
0000086600 | Domestic Water Storage B-ST-5 | Domestic Water DST-5 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | B-ST-5 | AO Smith | TJV 120A000 |  | 1728106820829 | 790 | UBC Life Building (790) |  |  | 6A | [10 empty] | SYS0038786 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086600
0000086601 | Domestic Water Storage B-ST-6 | Domestic Water DST-6 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | B-ST-6 | AO Smith | TJV 120A000 |  | 1713105520585 | 790 | UBC Life Building (790) |  |  | 6A | [10 empty] | SYS0038786 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086601
0000086807 | Hot Water Tank | Electric Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | 1 | A.O.Smith | DVE250A025060001 |  | 1102R000085 | 301 | Wayne and William White Engineering Design Centre (301) | [13 empty] | SYS0038239 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086807
0000086808 | Hot Water Tank | Electric Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | 2 | A.O.Smith | DVE250A025060001 |  | 1102R000086 | 301 | Wayne and William White Engineering Design Centre (301) | M170 | Mechanical Room | Mechanical Room | [9 empty] | 2011-01-01 | SYS0038239 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000086808
0000087151 | Domestic Hot Water Tank DHWH-01 | Serves: Domestic hot water. | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWH-01 | Niles | JS28-80a |  |  | 466 | Food & Beverage Innovation Centre (466) |  |  | Mech Rm | [9 empty] | 2024-01-01 | SYS0181093 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000087151
0000087250 | DHW Tank (Student) DHWT-1,2,3 | Serves: DHW System Pressure Relief Setting: 160 psi Operating Fluid: Water | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1,2,3 | AO Smith | TJV-120M |  |  | 115 | Brock Commons ¦ South (115) |  |  | B1 Mech Rm | [9 empty] | 2023-01-01 | SYS0181418 | Domestic Water Distribution Equipment
0000087251 | DHW Tank (Academic) DHWT-4,5,6 | Serves: DHW System Pressure Relief Setting: 160 psi Operating Fluid: Water | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-4,5,6 | AO Smith | TJV-120M |  |  | 115 | Brock Commons ¦ South (115) |  |  | B1 Mech Rm | [9 empty] | 2023-01-01 | SYS0181418 | Domestic Water Distribution Equipment
0000128156 | Hot Water Tank, 20gal 3000W |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | [5 empty] | TMP001 | Counselling Services (TMP001) | 137 | Custodial Room | Custodial Room | [9 empty] | 2020-12-15 | SYS0038920 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000128156
0000176865 | Hot Water Tank | Capacity 74L Dec 2022 208 volt, Phase 1 Element 1 Total 6000W | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | AO Smith | DEL-20102 |  | 2252132251115 | 212 | Sing Tao Building (212) | 106 | Mechanical Room | Mechanical Room |  |  |  | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-23 |  |  | https://go.ubc.ca/1/a/0000176865
0000176866 | Hot Water Tank | Capacity 182L Installed 01/05/2023 240 Volt 2 Elements, 3000W ea | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | ESOTE-30240 |  | 2214129013861 | 380 | Old Fire Hall (380) | 3 | Studio | Studio |  |  |  | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-23 |  |  | https://go.ubc.ca/1/a/0000176866
0000176867 | Hot Water Tank | Capacity 102L Installed Feb/2023 240 Volt, Ph 1 1 Element, 3000W | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Space Saver | 556-30SSEBN-30 |  | 2222129759005 | 337 | First Nations Longhouse (337) | 121A | Shared | Space outside Bathroom |  |  |  | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-23 |  |  | https://go.ubc.ca/1/a/0000176867
0000176869 | Hot Water Tank | Hot Water Tank DHWT-3 Capacity 428L Feb 2023 208Volt, 1-3 Ph 2 Elements, 5000W | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | AO Smith | DEN120110 | Electric | 2251132244946 | 313 | The Fred Kaiser Building (313) | 1112 | Mechanical Room | 1112 | [10 empty] | SYS0038248 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000176869
0000176870 | Hot Water Storage Tank | Hot Water Storage Tank Capacity 80G 208V 3PH 9 Elements 40.5KW | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | AO Smith | DVE80A | Electric | R688100160010 | 024-5 | Lower Mall Header House (024-5) | 01 | Mechanical Room | Mechanical Room | [9 empty] | 2010-01-01 |  |  | https://go.ubc.ca/1/a/0000176870
0000176871 | Hot Water Tank - DWHT - 1 | Capacity 115V 660000 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWHT - 1 | AO Smith | HW670300 |  | 2043121567683 | 431 | Robert F. Osborne Centre - Unit 2 (431) | 114 | Mechanical Room | Mechanical Room | [9 empty] | 2020-01-01 | SYS0038495 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000176871
0000176872 | Hot Water Tank - DWHT - 2 | Capacity 115V 660000 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWHT - 2 | AO Smith | HW670300 |  | 2044121635259 | 431 | Robert F. Osborne Centre - Unit 2 (431) | 114 | Mechanical Room | Mechanical Room | [9 empty] | 2020-01-01 | SYS0038495 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000176872
0000176873 | Hot Water Tank | Capacity 114L March 2023 208 Volt, 1-3 Ph 2 Elements 6000W total | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | AO Smith | DELC30100 |  | 2301132290198 | 313 | The Fred Kaiser Building (313) | 5012 | Custodial Room | Custodial Room Floor |  |  |  | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176873
0000176874 | Hot Water Tank | Capacity 114L March 2023 208 Volt, 1-3 Ph 2 Elements, 6000W total | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | AO Smith | DELC30100 |  | 2302132437696 | 313 | The Fred Kaiser Building (313) | 3133 | Custodial Room | Custodial Room | [9 empty] | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176874
0000176875 | Hot Water Tank | Capacity 65L Sept 2022 120 Volt 1500W element | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Space Saver | SS6-20SSEB-15K |  | 2236130844571 | 164 | Hugh Dempster Pavilion (164) | 106 | Multiple Occupant - Men's Accessible Washroom | Multiple Occupant - Men's Accessible Washroom | [9 empty] | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176875
0000176876 | Hot Water Tank | Capacity 65L Sept 2022 120 Volt 1500W element | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Space Saver | SS6-20SSEB-15K |  | 2236130844574 | 164 | Hugh Dempster Pavilion (164) | 202 | Multiple Occupant - Women's Accessible Washroom | Multiple Occupant - Women's Accessible Washroom | [9 empty] | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176876
0000176877 | Domestic Water Storage DHWT-1 | Hot Water Tank DHWT-1 Capacity 158L Jan 2023 240 Volt 2 Elements, 3000W ea | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | E5OTE-30240 | Electric | 224613172837 | 518 | Mathematics Building (518) | 101 | Custodial Room | Custodial Main Flr |  |  |  | AOG-0000008 | Building Operations | [5 empty] | SYS0038593 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000176877
0000176878 | Hot Water Tank | Capacity 249L Jan 2023 240 Volt, Single Ph 2 Elements, 4500W total | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | E8OTE-45240 |  | 2243131472981 | 568 | Morris and Helen Belkin Art Gallery (568) | 1 | Mechanical Room | Mechanical Room | [9 empty] | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176878
0000176879 | Hot Water Tank | Capacity 155L Jan 2023 240 Volts, Single Ph 3000W ea | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | E5OTE-30240 |  | 2246131727839 | 496 | Liu Institute for Global Issues (496) | 006 | Mechanical Room | Mechanical Room |  |  |  | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176879
0000176880 | Hot Water Tank | Capacity 155L Dec 2022 240 Volt 2 Elements, 3000W ea | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | E5OTE-30240 |  | 2246131727837 | 518 | Mathematics Building (518) | 101 | Custodial Room | Custodial Room |  |  |  | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176880
0000176881 | Hot Water Tank | Capacity 38L March 2023 120 volt 1 Element, 1500W | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Space Saver | 5512EB15 |  | 2236130914247 | 575 | Music Building (575) | [6 empty] | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176881
0000176882 | Hot Water Tank | Capacity 303L Feb 2023 600Volt, 3 Phase 3 Elements, 9000W total | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | AO Smith | DRE80100 |  | 2251132225777 | 385 | Wood Fluid and Thermal Treatments Laboratory (385) | 202 | Shared | Shared |  |  |  | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176882
0000176883 | Hot Water Tank | Capacity 249L Jan 2023 240 Volt 2 Elements, 4500W | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | E8OTE-45240 |  | 2132125575443 | 536 | Woodward Biomedical Library (536) | 31 | Mechanical Room | Mechanical Room |  |  |  | AOG-0000008 | Building Operations |  |  |  |  | 2023-03-24 |  |  | https://go.ubc.ca/1/a/0000176883
0000177045 | Hot Water Tank | Hot Water Tank DHWT-1 Capacity 71.9 L May 2023 208 Volt, 3 Phase 3 elements, 3000W ea | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Bradford White | CEA20-9-3-103D-AA |  | ZC51093054 | 478 | C. K. Choi Building (478) | 041 | Mechanical Room | Mechanical Room | [9 empty] | 2023-05-16 |  |  | https://go.ubc.ca/1/a/0000177045
0000177239 | Domestica Water Tank DHWT-1 | Mini tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 |  |  |  |  | 653 | Third Space (653) | 103A | Mechanical Room | Mechanical Room | [9 empty] | 2023-07-20 |  |  | https://go.ubc.ca/1/a/0000177239
0000177240 | Domestica Water Tank DHWT-2 | located under kitchen sink. | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 |  |  |  |  | 653 | Third Space (653) | 100 | Lobby | Lobby | [9 empty] | 2023-07-20 |  |  | https://go.ubc.ca/1/a/0000177240
0000177521 | Hotwater Tank | Hotwater tank for process steam boiler | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | Rheem Ruud | EG50C-9 | Electric | A372104074A | 447 | Chemistry A - Physics (447) | A502 | Mechanical Room | Mechanical Room |  |  |  | AOG-0000062 | Chemistry | AOG-0000008 | Building Operations |  |  | 2023-11-20 |  |  | https://go.ubc.ca/1/a/0000177521
0000181114 | Domestic Water Storage DHW-1 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHW-1 |  |  |  | 5J81Y2140 | 449 | Food, Nutrition and Health Building (449) | 12 | Mechanical Room | Mech Room 12# | [12 empty] | https://go.ubc.ca/1/a/0000181114
0000182345 | Domestic Hot Water Tank - DHWT-SB-01 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-SB-01 | Lochinvar | RGA0257-5 |  | 110924139 | 459 | Gordon B. Shrum Building (459) | B2100 | Mechanical Room | Mech Room Level B2 | [10 empty] | SYS0181899 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000182345
0000182346 | Domestic Hot Water Tank - DHWT-SB-02 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-SB-02 | Lochinvar | RGA0257-5 |  | 129237207 | 459 | Gordon B. Shrum Building (459) | B2100 | Mechanical Room | Mech Room Level B2 | [10 empty] | SYS0181899 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000182346
0000182347 | Domestic Hot Water Tank - DHWT-SB-03 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-SB-03 | Lochinvar | RGA0257 |  | 111031507 | 459 | Gordon B. Shrum Building (459) | B2100 | Mechanical Room | Mech Room Level B2 | [10 empty] | SYS0181899 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000182347
0000183697 | Domestic Water Storage Tanks - DHWT-1 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | DURAWATT ELECTRIC | 180L 150A-VE |  | F026306 | 314-1 | Beaty Biodiversity Centre - Addition (314-1) | B118 | Mechanical Room | Mechanical Room | [10 empty] | SYS0184699 | Domestic Water Distribution Equipment
0000183698 | Domestic Water Storage Tanks - DHWT-2 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | Durawatt/AquaPLEX | 180 L 150A-VE |  | F026307 | 314-1 | Beaty Biodiversity Centre - Addition (314-1) | B118 | Mechanical Room | Mechanical Room | [10 empty] | SYS0184699 | Domestic Water Distribution Equipment
0000183846 | Hot Water Tank | Tank for Domestic Hot Water | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks |  | John Wood | JW402NA |  | 0102275368 | 097 | Botanical Garden Centre - Gate House and Shop-In-The-Garden (097) | 104A | Mechanical Room | Mechanical Room | [10 empty] | SYS0038397 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000183846
0000184507 | Domestic Water Storage Tanks - DWHT |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWHT | Nelson Sobe Company | PROE21CNPOU |  | 0212523170 | 065 | Biological Sciences Building - West Wing (065) | 4260 | Mechanical Room | Mechanical Room | [10 empty] | SYS0038375 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000184507
0000184508 | Domestic Water Storage Tanks - DWHT-01 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWHT-01 | A.O. Smith Corporation | DVE-120100 |  | 2533144898923 | 306 | Civil and Mechanical Engineering Building (306) | 0050 | Mechanical Room | Mechanical Room | [10 empty] | SYS0038241 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000184508
0000184509 | Domestic Water Storage Tanks - DWHT-02 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DWHT-02 | A.O. Smith Corporation | DVE-120100 |  | 2533144898924 | 306 | Civil and Mechanical Engineering Building (306) | 0050 | Mechanical Room | Mechanical Room | [10 empty] | SYS0038241 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000184509
0000184529 | Domestic Water Storage Tanks - DHWT-1 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | A. O. Smith Corporation | TJV-120M000 |  | 2323134423660 | 217 | Gateway Health Building (217) | B1101 | Mechanical Room | Mechanical Room | [10 empty] | SYS0184639 | Domestic Water Distribution Equipment
0000184530 | Domestic Water Storage Tanks - DHWT-2 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | A. O. Smith Corporation | TJV-120M000 |  | 2313133481296 | 217 | Gateway Health Building (217) | B1101 | Mechanical Room | Mechanical Room | [10 empty] | SYS0184639 | Domestic Water Distribution Equipment
0000184531 | Domestic Water Storage Tanks - DHWT-3 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-3 | A. O. Smith Corporation | TJV-120M000 |  | 2323134423663 | 217 | Gateway Health Building (217) | B1101 | Mechanical Room | Mechanical Room | [10 empty] | SYS0184639 | Domestic Water Distribution Equipment
0000184960 | Domestic Water Storage Tanks - DHWT-4 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-4 | Ruud | CEGSP15 |  | Q132549699 | 217 | Gateway Health Building (217) | 6100A | Custodial Room | 6100A Custodial Room Floor: 6 | [10 empty] | SYS0184639 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000184960
0000185032 | Domestic Water Storage Tanks - DHW-T2 |  | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHW-T2 | A.O. Smith Corporation | DVE 150A-018 |  | 144682077 | 901 | West Mall Swing Space Building (901) | 504 | Mechanical Room | 504 Mechanical Room Floor: 5 | [10 empty] | SYS0038905 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000185032
0000260405 | Domestic Water Storage | Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | HWST-1 | Bradford & White | A2086000 |  | 16886313 | 434 | Gerald McGavin UBC Rugby Centre (434) |  |  | 7 | [10 empty] | SYS0038498 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260405
0000260426 | Domestic Water Storage | Domestic Hot Water Holding Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | [5 empty] | 760 | Rugby Pavilion (760) |  |  | 118 | [10 empty] | SYS0038759 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260426
0000260543 | Domestic Water Storage DSHT-01 | Solar Domestic Hot Water Storage | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DSHT-01 | PVI Aquaplex | L-750A-TR |  | 713136476 | 795 | AMS Student Nest (795) | 5102 | Mechanical Room | [11 empty] | SYS0038790 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260543
0000260544 | Domestic Water Storage DSHT-02 | Solar Domestic Hot Water Storage | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DSHT-02 | PVI Aquaplex | L-750A-TR |  | 713136475 | 795 | AMS Student Nest (795) | 5102 | Mechanical Room | [11 empty] | SYS0038790 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260544
0000260545 | Domestic Water Storage DSHT-03 | Solar Domestic Hot Water Storage | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DSHT-03 | PVI Aquaplex | L-750A-TR |  | 713136477 | 795 | AMS Student Nest (795) | 5102 | Mechanical Room | [11 empty] | SYS0038790 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260545
0000260546 | Domestic Water Storage DSHT-04 | Solar Domestic Hot Water Storage | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DSHT-04 | PVI Aquaplex | L-750A-TR |  | 713136478 | 795 | AMS Student Nest (795) | 5102 | Mechanical Room | [11 empty] | SYS0038790 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260546
0000260547 | Domestic Water Storage DHWT-01 | Domestic Hot Water Storage | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-01 | PVI Aquaplex | L-900A-TR |  | 713136473 | 795 | AMS Student Nest (795) | 5102 | Mechanical Room | [11 empty] | SYS0038790 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260547
0000260548 | Domestic Water Storage DHWT-02 | Domestic Hot Water Storage | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-02 | PVI Aquaplex | L-900A-TR |  | 713136474 | 795 | AMS Student Nest (795) | 5102 | Mechanical Room | [11 empty] | SYS0038790 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260548
0000260586 | Domestic Water Storage DHWT-1 | Electric DHW Tank DHWT-1 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | Aquaplex | L-150A-TR |  | 115141029 | 213 | Aquatic Centre (213) |  |  | 100 | [10 empty] | SYS0038229 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260586
0000260587 | Domestic Water Storage DHWT-2 | Electric DHW Tank DHWT-2 | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | Aquaplex | L600A-TR |  | 1115141028 | 213 | Aquatic Centre (213) |  |  | 107A | [10 empty] | SYS0038229 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260587
0000260696 | Domestic Water Tank DHWT-1 | Building Domestic Water | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | AO Smith | DEL-10S-6 |  |  | 862 | UBC Baseball Rose Indoor Training Centre (862) |  |  | 102 | [10 empty] | SYS0038869 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260696
0000260723 | Domestic Water Storage ST-3 | Domestic Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-3 | A.O.Smith | 400USG |  | 558719Y5 | 868 | Doug Mitchell Thunderbird Sports Centre (868) |  |  | 236 | [10 empty] | SYS0038877 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260723
0000260724 | Domestic Water Storage ST-2 | Domestic Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-2 | A.O.Smith | 400USG |  | SJ9558715Y5 | 868 | Doug Mitchell Thunderbird Sports Centre (868) |  |  | 236 | [10 empty] | SYS0038877 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260724
0000260725 | Domestic Water Storage ST-2 | Domestic Hot Water Storage Tank PreHeat | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-1 |  |  |  |  | 868 | Doug Mitchell Thunderbird Sports Centre (868) |  |  | 236 | [10 empty] | SYS0038877 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260725
0000260773 | Domestic Water Storage ST-1 | Domestic Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-1 | A.O.Smith | TJV400A100 |  | 1630M003369 | 435 | National Soccer Development Centre (NSDC) (435) |  |  | 123 | [10 empty] | SYS0038499 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260773
0000260774 | Domestic Water Storage ST-2 | Domestic Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-2 | A.O.Smith | TJV400A100 |  | 1633M002245 | 435 | National Soccer Development Centre (NSDC) (435) |  |  | 123 | [10 empty] | SYS0038499 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260774
0000260775 | Domestic Water Storage ST-3 | Domestic Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | ST-3 | A.O.Smith | TJV400A100 |  | 1633M002243 | 435 | National Soccer Development Centre (NSDC) (435) |  |  | 123 | [10 empty] | SYS0038499 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260775
0000260832 | Domestic Water Storage | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | T-2 | Sanford Pearce |  |  | 4354 | 785 | Thunderbird Stadium (785) |  |  | Rm 204 | [10 empty] | SYS0038783 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260832
0000260833 | Domestic Water Storage | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | T-1 | Sanford Pearce |  |  |  | 785 | Thunderbird Stadium (785) |  |  | Rm 204 | [10 empty] | SYS0038783 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260833
0000260843 | Domestic Water Storage DHWT-1 | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | Bradford White | 100T88B3N |  | HA14345241 | 433 | UBC Tennis Centre (New) (433) |  |  | 141 | [10 empty] | SYS0038497 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260843
0000260844 | Domestic Water Storage DHWT-2 | Domestic Hot Water Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | Bradford White | 100T88B3N |  | HA14345249 | 433 | UBC Tennis Centre (New) (433) |  |  | 141 | [10 empty] | SYS0038497 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000260844
0000261039 | Domestic Water Storage T DST-3 | Domestic ot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DST-3 | Rheem | ST120 |  | A221812678 | 063 | Biological Sciences Building - East Wing (063) |  |  | 11 | [10 empty] | SYS0038374 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000261039
0000261040 | Domestic Water Storage T DST-4 | Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DST-4 | Rheem | ST120 |  | A221812671 | 063 | Biological Sciences Building - East Wing (063) |  |  | 11 | [10 empty] | SYS0038374 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000261040
0000261041 | Domestic Water Storage T DST-2 | Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DST-2 | Rheem | ST120 |  | A131811637 | 063 | Biological Sciences Building - East Wing (063) |  |  | 11 | [10 empty] | SYS0038374 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000261041
0000261042 | Domestic Water Storage T DST-1 | Hot Water Storage Tank | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DST-1 | Rheem | ST120 |  | A121813896 | 063 | Biological Sciences Building - East Wing (063) |  |  | 11 | [10 empty] | SYS0038374 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000261042
0000261057 | Domestic Water Storage DHWT-1 | Electric DHW Tank 6000KW | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-1 | AO Smith | DEL-10 |  |  | 063 | Biological Sciences Building - East Wing (063) |  |  | 11 | [10 empty] | SYS0038374 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000261057
0000261058 | Domestic Water Storage DHWT-2 | Electric DHW Tank 6000KW | In use | Asset | ME.92.911.4886 | Domestic Water Storage Tanks | DHWT-2 | AO Smith | DEL-10 |  |  | 063 | Biological Sciences Building - East Wing (063) |  |  | 11 | [10 empty] | SYS0038374 | Domestic Water Distribution Equipment | https://go.ubc.ca/1/a/0000261058